## Slide 1
HEU-EFS Methodological Framework
Alexandra Poulsson | Norwegian Institute of Public Health (NIPH)
HEU-EFS Pilot Programme Webinar, 05.12.2025

## Slide 2
EU EFS Framework
Taking into account synergies with Expert Panel Scientific Advice, HTAR JSC, Coordinated Assessment, draft MDCG Breakthrough Guidance, and other EU pathways.
Technologies
Patient conditions
Level of pre-clinical evidence
Trialists and clinical sites competence
EU EFS Framework
Pilot use cases
Process, procedures, actors, timelines
KPIs and Dashboard
Research & Analysis
Eligibility criteria
Templates & checklists
Clinical Investigation Plan
Informed Consent Form
Master Clinical Trial Agreement
Insurance agreement
Notes: Feedback will be collected during/after pilots to improve the proposed framework.
The framework and tools will be tested through the conduction of pilot EFS.

## Slide 3
General criteria:
High-risk devices (Class III and Class IIb), where a clinical investigation will be required as part of the conformity assessment.
Breakthrough Device / Unmet Patients Needs
Anatomical Understanding
New / Expanded Intended Uses or Indications for Use for Patients
Increasing Risk
Class III
Class IIa
Class I
Class IIb
Class Is, Im, Ir
Eligibility Criteria for the Pilots Technology

## Slide 4
Level of Pre-clinical Evidence for EFS Pilots
  Allow for leveraging data from similar (own) devices for some tests
  The goal of the EFS may be to answer specific GSPRs which cannot be answered through preclinical testing
  A justification provided for limitations, such as – further testing is not possible through preclinical testing due to e.g. anatomy or physiology
  Concurrent testing is planned to be performed without causing greater risk to the patients enrolled in the EFS.
Preclinical testing shall be performed as far as possible unless;
GSPR* must be the foundation for pre-clinical testing performed for an EFS. Pre-clinical testing will not be finalised as the design may remain in a continuous iterative phase
*GSPR - General Safety and Performance Requirements of the MDR

## Slide 5
Clinical Sites and Clinical Expertise for EFS Pilots
*ICH-GCP – International Council for Hamonisation of Technical Requirements for Registration of Pharmaceuticals for Human Use – Good Clinical Practice
PI – Principle Investigator
The requirements defined by the MDR for sponsors, sites and investigators must be followed , in addition we identified
Increase in regulatory competence on EFS is beneficial for all parties; need for early dialogue between NCA and sponsors, and e.g. EC, PI
Personnel conducting EFS should be qualified under ICH-GCP* and meet additional qualifications required at national level.
Ensure that the clinical site has the capacity and equipment to offer adequate emergency care and support systems during and also after the EFS.
Clinical staff should have experience in the therapeutic field
Ensure independence and transparency of clinical staff
May have dedicated units or personnel specifically tasked with coordinating regulatory submissions and contracts.

## Slide 6
Process Goals and Considerations
Accelerated EFS Process (~30% reduction ​ in review times)
Streamlined Templates / Checklists and Performance Metrics
Timely
Efficient
Collaborative
Enhance Early Dialogue Options
Parallel NCA & EC Review where Possible

## Slide 7
Target 30% Reduction in Overall Process Timelines Compared to Current MDR
Pre-Submission
Submission & Review
Pre-submission Phase
Contact point early in the process to allow for planning and resource allocation
Multi stakeholder early dialogue for sponsor, NCA and where appropriate and relevant Ethics Committee, NCA experts, Principal investigator of clinical site.
National Competent Authority (NCA)
Initial "Validation" Phase → Completeness of Submission File
NCA Assessment time
Proceed to Review Phase or Request for Information (RFI)
RFI Cycle time for Sponsor and NCA
Review Phase → Scientific Review of Submission File
NCA review time, including utilizing a “stop-clock“ approach, and encouraging “rolling review process“ to facilitate timely review
Approval or request for Information (RFI)
RFI Cycle time for sponsor and NCA
Contact Point
Early Dialogue
Submission
Validation
Review
EFS Process Overview

## Slide 8
Pre-Submission in Detail
Alerts NCA (and other recipients) to incoming application for an EFS
Identifies key principles of Device Technology
Outlines qualifications for Accelerated review
Cycle timing: 1-2 weeks
Contact Point
Early Dialogue (optional)
Opportunity to have targeted discussions related to the device, Patient population, etc.
Pre-submission to include appropriate background information
Cycle timing: 30-60 days
Contact Point
Early Dialogue

## Slide 9
Submission: Validation and Review in Detail
Submission
Validation
Review
Proposed Accelerated (HEU-EFS) Timing (7 - 39 days)
NCA Assessment: 7 – 12 days
Sponsor response to identified gaps: 7 – 17 days
Final NCA Validation: 5 – 10 days
Validation under MDR (Article 70) Timing (10 - 55 days)
NCA Assessment: 10 – 15 days
Sponsor response to identified gaps: 10 – 30 days
Final NCA Validation: 5 – 10 days
Validation
Proposed Accelerated NCA Assessment (30 - 45 days)
Deficiency Communication:
  Rolling Review/Interactive Questions approach
  “Stop Clock” approach
  “Approval with Conditions” approach
Sponsor response to identified gaps: rapidly, be prepared
Final NCA decision: Utilisation of remaining clock
Review under MDR (45 - 65 days)
NCA Assessment: 45 – 65 days
Sponsor response to identified gaps: Timing not specified
Final NCA decision: Utilisation of remaining clock
Review

## Slide 10
Proposed EFS Process vs MDR Art. 70
*Abbreviations Art. = article of the MDR, d=days
Undefined Pre- Submission Process
Submission & Review
Deficiency Communication:
If the Sponsor is unable to respond within the set time of the accelerated process it will revert to normal Art. 70 process
MDR Art. 70 Process
Application for CI (MDR Art. 70)
NCA Notification
(MDR Art. 70.1)
10d (+5d)
Sponsor
Dossier Revision (MDR Art. 70.3)
10d (+20d)
NCA Validation
(MDR Art. 70.3)
5d (+5d)
NCA Evaluation
(MDR Art. 71)
45d (+20d)
NCA Notify of Authorisation
Pre-Submission
Submission & Review
Contact Point
Early Dialogue
Validation
Review
Submission
Authorisation
CI for Implantable IIa, IIb and all Class III Devices
Proposed HEU- EFS Process

## Slide 11
HEU-EFS Specific Checklists & Templates
Informed Consent Form
Master Clinical
Trial Agreement
Insurance
Agreement
Clinical Investigation Plan
Self-Evaluation
Checklist
The template based on MDR provides a standardised format for sponsors — particularly SMEs — that may lack internal documentation resources.
The checklist aids sponsors to verify internally that patient requirements are met, for the application to both NCA and Ethics Committee
The checklist ensures all relevant and EFS-specific contractual elements are included
The guidance is a practical solution given that the insurance agreement is typically non-negotiable
It serves as a reference document to ensure inclusion of the minimum essential required elements
The template based heavily on MDCG 2024-3 but tailored to EFS
The checklist aids sponsors to verify internally that CIP is completed appropriately specifically for EFS
The checklist aids sponsors to verify internally that they are ready to start an EFS

## Slide 12
Collection of Data during the Pilots from Sponsors of the EFS Pilots and NCAs
Collect at Four Key Points along the Pilot Journey
After EFS Application has been Submitted to NCA
After Authorisation of the EFS Pilot by the NCA
After Completion of the EFS Pilot
About the Pre-submission Process

## Slide 13
Questions & Answers
Raise your Hand
Wait for the Moderator to Invite you to Speak
Unmute your Mic & ask your Question
Mute your Mic
1
3
2
4

## Slide 14
Thank you !
www.heuefs-eu